## Slide 1
Notes: Introduce the idea: a digital twin that merges static EHR risk with continuous wearable signals to forecast ischemic events 24 hours ahead.

## Slide 2: From reactive monitoring to a living twin
Fuse
Static EHR risk (demographics, comorbidities, LVEF, ECG) meets continuous wearable streams: HRV, heart rate, sleep, SpO₂.
Forecast
A gradient-boosted classifier reads 6-hour rolling windows and flags the 24-hour pre-event window.
Visualise
A clinical cockpit pairs a risk banner and EHR panel with a 3D heart that pulses amber/red as risk rises.
Notes: Three pillars: fuse multi-modal data, forecast the pre-event window, visualise it for clinicians.

## Slide 3: An end-to-end pipeline, containerised
1
Synthetic EHR
500 patients · 13 clinical fields
2
Wearable streams
30 days × 24 h per patient
3
Merge + features
Patient-token join · 6 h rolling windows
4
Risk model
Gradient boosting · 33 features
5
Clinical cockpit
Streamlit · Plotly · Three.js
Reproducible in three commands
python src/data/*.py → python src/model/train.py → streamlit run dashboard/app.py
Docker Compose serves the cockpit on port 8501 with live-mounted data, models and code.
Notes: Walk left to right. Everything is scripted and Dockerised so judges can reproduce it.

## Slide 4: 360,000 hourly readings, two data streams
500
patients, one pseudo-token each
720
hourly readings per patient (30 days)
33
engineered model features
100
patients with an event window (20%)
Chart: Feature groups (33 total)
| EHR baseline | Wearable (instant) | 6 h rolling | Sleep stage (one-hot) | Sex (one-hot)
Features | 13 | 8 | 6 | 4 | 2
Notes: Event windows are injected into the final 24 hours of 100 patients; EHR provides prior risk, wearables provide dynamics.

## Slide 5: Physiology diverges inside the 24-hour window
Chart: HRV (RMSSD)
| -24 | -23 | -22 | -21 | -20 | -19 | -18 | -17 | -16 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
Event patients | 45.6 | 48.9 | 53.6 | 57.3 | 57.8 | 60.2 | 58.8 | 57.9 | 58.3 | 54.6 | 52.1 | 46.4 | 44.1 | 39 | 35.7 | 33.5 | 30 | 29.9 | 30.3 | 31.4 | 33.1 | 37.1 | 41.4 | 44.1 | 46.4 | 48 | 48.8 | 51.4 | 50.8 | 51.2 | 49.7 | 47.6 | 42.9 | 40.7 | 37.3 | 32.3 | 28.1 | 25 | 21.2 | 18.8 | 16.6 | 16 | 14.3 | 14.6 | 14.4 | 15.3 | 15.5 | 15.7
No event | 44.9 | 48.9 | 52.8 | 56.1 | 57.7 | 59.8 | 60.4 | 59.6 | 57 | 54.1 | 51.1 | 46.8 | 43 | 39 | 35.6 | 32.8 | 31 | 29.9 | 29.9 | 31.4 | 34.1 | 37 | 41.4 | 45 | 45.4 | 48.8 | 53.4 | 56.1 | 58 | 59.7 | 59.8 | 59 | 57.6 | 53.7 | 50.7 | 46.9 | 43 | 39.3 | 35.3 | 32.4 | 30.8 | 29.8 | 30.2 | 31.8 | 34.2 | 37.3 | 41.1 | 45.2
Chart: Heart rate
| -24 | -23 | -22 | -21 | -20 | -19 | -18 | -17 | -16 | -15 | -14 | -13 | -12 | -11 | -10 | -9 | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
Event patients | 49.7 | 48.6 | 47.8 | 46.6 | 46.2 | 45.6 | 45.8 | 46.3 | 46.7 | 47.5 | 47.4 | 49.1 | 51 | 51.9 | 54.6 | 55.5 | 56.3 | 58 | 57.3 | 56.5 | 54.9 | 53 | 51.5 | 50.5 | 49.6 | 49.5 | 49.2 | 49.3 | 49.7 | 50.9 | 51.3 | 52.8 | 53.8 | 55.4 | 57.6 | 59.4 | 63.5 | 64.2 | 66.4 | 70.1 | 72 | 73.9 | 74.2 | 74.2 | 74.6 | 73.7 | 72.6 | 72.1
No event | 49.9 | 48.4 | 47.1 | 46.5 | 46 | 45.9 | 45.8 | 46 | 46.4 | 46.8 | 47.6 | 49.3 | 51 | 52.4 | 54.1 | 55.6 | 56.6 | 57.4 | 56.6 | 56 | 55.7 | 54 | 51.6 | 50.2 | 50.3 | 48.7 | 47.1 | 46.6 | 46 | 45.8 | 45.8 | 45.9 | 46.2 | 46.7 | 48 | 49.2 | 51 | 52.9 | 54.4 | 56 | 56.6 | 57.2 | 57.1 | 56.4 | 55.3 | 53.4 | 51.9 | 49.8
Final 24 h, event vs. no event: HRV 31.8 vs 45.0 ms (−29%) · HR 61.7 vs 50.8 bpm (+21%) · Sleep fragmentation 0.81 vs 0.52 · Skin temp +0.6 °C
Notes: Means across the 100 event patients vs 400 controls, hours 672-719 of each record. HRV decays, heart rate climbs, sleep fragments.

## Slide 6: Gradient boosting, validated by patient
1.00
ROC-AUC
0.996
Recall
0.998
Precision
0.997
F1 score
Held-out test: 72,000 rows from 100 unseen patients. Patient-level 80/20 split, class-weighted training, target-derived columns excluded.
Chart: Single-feature separability (AUC; 0.5 = chance)
| HRV 6 h mean | HRV (instant) | Heart rate 6 h mean | Sleep fragmentation 6 h | SpO₂ 6 h min
AUC | 0.716 | 0.736 | 0.785 | 0.881 | 0.999
Notes: Metrics from models/model_metrics.json. Separability chart: univariate AUC on a 100-patient sample of the merged dataset.

## Slide 7: A clinical cockpit built for fast reading
Acute Ischemic Anomaly Risk: 84%
Window: 18–24 h · CRITICAL (illustrative)
Clinical command panel
Age · BMI · sex
Comorbidities
LVEF % · ECG
HRV · HR · SpO₂ telemetry
1
Forecast banner
Forward-looking risk %, time window and the dynamic triggers behind it.
2
Clinical command panel
EHR summary beside real-time telemetry widgets.
3
3D hemodynamic heart
Stable blue/red gradients; vascular cross-sections pulse amber/red on predicted risk.
Notes: Stylised schematic of the Streamlit app; the 84% banner is the README example, not a live prediction.

## Slide 8: Next: from proof-of-concept to clinical evidence
Read the scores with care
Near-perfect metrics reflect cleanly separable synthetic anomalies (SpO₂ 6 h minimum alone reaches ~0.999 AUC). They prove the pipeline works, not clinical performance.
01
Validate
Retrain and test on MIMIC-IV and PhysioNet records
02
Harden
Temporal hold-out, calibration, time-to-event targets
03
Explain
SHAP drivers surfaced in the cockpit banner
04
Deploy
Clinician usability study, then regulatory pathway
Notes: Be upfront: synthetic data makes the task easy. The roadmap is how we earn clinical credibility.

## Slide 9: A twin that sees risk before it strikes
Multi-modal data in, a 24-hour forecast and an explorable 3D heart out, privacy-safe by design.
Data
Synthea-inspired EHR + PhysioNet-style wearables
Model
Gradient boosting (XGBoost-ready)
Frontend
Streamlit · Plotly · Three.js (WebGL)
Compliance
DPDP Act + HIPAA; fully synthetic data
Deploy
Docker Compose on port 8501
Research demonstration only. Not for clinical use.